## Worksheet
[19 empty] | Word and BC menu list | Ceiling insulation penetrations | [7 empty] | Ceiling insulation penetrations | [6 empty] | Artificial lighting |  |  |  | Artificial lighting
Existing
CEILING INSULATION PENETRATION CALCULATOR | [8 empty] | Calculator v: 25 Jun 2015 | ARTIFICIAL LIGHTING CALCULATOR | [6 empty] | Calculator v: 25 Jun 2015
For Protocol B1.1.3 this DATASHEET reports the ceiling area uninsulated and any required increase in insulation R-Value when there is existing, altered and/or added roof in the same space and penetrations are added. | [9 empty] | For Protocol C1.1.1 this DATASHEET reports lamp power density W/m2 for Class 1 buildings and an attached verandah/balcony or Class10a building, when artificial lighting is added and/or when there is existing artificial lighting in the same space.
[19 empty] | Pass | [19 empty] | Data not complete error check
Fail
|  |  |  | For all spaces that are part of the building work, nominate the aggregate area of "added" and "altered and/or existing" ceiling insulation area. | [8 empty] | For all spaces that are part of the building work, nominate the aggregate "added" and "altered and/or existing" areas, and all artificial lighting in those space(s). | [5 empty] | Data
[28 empty] | Data entry check | [6 empty] | Artificial lighting |  |  |  | Area
|  |  |  | Existing penetration size calculated using the largest added penetration size (when applicable) | Ceiling insulation area (m2) for: |  | Added | Alter and/or exist |  |  |  |  | Existing wattage calculated using the largest added wattage | Nominate the m2 area |  |  |  |  | Non-compliant | [8 empty] | Space m2 | [10 empty] | FALSE
[19 empty] | Space | [8 empty] | FALSE | FALSE | [5 empty] | Class 1 building
[12 empty] | Wattage |  | Nominate light type and number: | Added | Existing |  |  | Building |  | Ceiling insulation penetrations | [13 empty] | Added lamps | Existing lamps |  |  | Wattage | Added | Exist
|  | Penetration size (see Note 1) |  |  | Number penetration in each area: |  |  |  |  | Class 1 building | [10 empty] | Added area | Existing / altered area | [12 empty] | 0 | 0 |  |  | FALSE | FALSE
|  | Diam (mm) |  |  |  |  | Added | Added | Existing | [11 empty] | Added | Added | Existing |  |  |  |  | Diam | Number of | [5 empty] | 0 | 0 |  |  | FALSE | FALSE
Recessed downlight(s) | [18 empty] | Applies | Recessed | 0 | 0 | 0 |  |  |  |  | FALSE | FALSE | [5 empty] | 0 | 0 |  |  | FALSE | FALSE
[18 empty] | Blank |  |  | 0 | 0 | 0 | Large text |  |  |  | FALSE | FALSE | [5 empty] | 0 | 0 |  |  | FALSE | FALSE
[21 empty] | 0 | 0 | 0 | Diam v square size |  |  |  | FALSE | FALSE | [5 empty] | 0 | 0 |  |  | FALSE | FALSE
[21 empty] | 0 | 0 | 0 | 0 | 0 |  |  | FALSE | FALSE | [5 empty] | 0 | 0 |  |  | FALSE | FALSE
[14 empty] | Total wattage | 0 | Watts per m2 |  |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | FALSE | FALSE | [5 empty] | 0 | 0 | Watts | countif error | 0
[14 empty] | Area (m2) | 0 |  |  |  | (second option) |  | 0 | 0 | 0 | 0 | 0 |  |  | FALSE | FALSE | [9 empty] | Space
[19 empty] | New |  |  |  |  | 0 | 0 | 0 | [8 empty] | Compliance | 5 | W/m2 |  | FALSE
|  | Diam (mm) | Width x Length (mm) | [15 empty] | O/side Table |  |  |  |  | 0 | 0 | 0 |  | Diam | Width |  | Length |  | D, W, L | Number of
| Exhaust fan(s) | [12 empty] | Description | [5 empty] | Exhaust fans | 0 | 0 | 0 | 0 | 0 | 0 |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  |  |  |  | Area
[13 empty] | Existing wattage calculated using the largest added wattage | [7 empty] | 0 | 0 | 0 |  |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  |  |  |  | FALSE
[14 empty] | Nominate the m2 area | [6 empty] | 0 | 0 | 0 |  |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | Verandah or balcony attached to Class 1
[12 empty] | Wattage |  |  | Added | Existing | [18 empty] | Added lamps | Existing lamps |  |  | Wattage | Added | Exist
|  | Diam (mm) | [7 empty] | Attached verandah or balcony |  |  |  | Nominate light type and number: | [13 empty] | Diam | Number of | [5 empty] | 0 | 0 |  |  | FALSE | FALSE
| Flue(s) | [18 empty] | Flues | 0 | 0 | 0 |  |  |  |  | FALSE | FALSE | [5 empty] | 0 | 0 |  |  | FALSE | FALSE
[21 empty] | 0 | 0 | 0 |  |  |  |  | FALSE | FALSE | [5 empty] | 0 | 0 |  |  | FALSE | FALSE
[14 empty] | Total wattage | 0 | Watts per m2 | [11 empty] | Use to hide outcomes if data error |  |  |  |  | Countif TRUE (inside box) | 0 | 0 | 0 | Watts | countif error | 0
[6 empty] | Penetration area sub-totals (m2) | 0 | 0 | [5 empty] | Area (m2) | 0 | [5 empty] | 0 | 0 | 0 | [15 empty] | Space
[6 empty] | 0.5%max concession |  | 0 | [30 empty] | FALSE
Concession granted for existing and altered insulation
|  |  |  | Percentage of ceiling area uninsulated |  | Total penetration area |  | 0 | 0% |  |  |  |  | Description | [6 empty] | 0.5% | [17 empty] | Area
[6 empty] | Total ceiling area |  | 0 |  |  |  |  | Existing wattage calculated using the largest added wattage | [25 empty] | FALSE
[14 empty] | Nominate the m2 area | [13 empty] | Blank data fields on report | [6 empty] | Verandah or balcony attached to Class 1
[12 empty] | Wattage |  |  | Added | Existing | [11 empty] | Use to show data entry missing | [6 empty] | Added lamps | Existing lamps |  |  | Wattage | Added | Exist
[10 empty] | Attached verandah or balcony (second option) |  |  |  | Nominate light type and number: | [13 empty] | Nominated Total R-Value | [6 empty] | 0 | 0 |  |  | FALSE | FALSE
[19 empty] | BC_YN | [15 empty] | 0 | 0 |  |  | FALSE | FALSE
[5 empty] | R-Value of ceiling level added insulation |  | Adjusted minimum R-Value of ceiling level insulation | [11 empty] | Yes | [10 empty] | Air space |  |  |  |  | 0 | 0 |  |  | FALSE | FALSE
|  | Added insulation adjustment for calculated percentage of ceiling area uninsulated | [11 empty] | Total wattage | 0 | Watts per m2 |  |  | No | [8 empty] | FALSE |  | FALSE |  |  |  |  | 0 | 0 | Watts | countif error | 0
[14 empty] | Area (m2) | 0 | [12 empty] | FALSE |  | FALSE | [8 empty] | Space
|  | Insulation 1 | [16 empty] | BC_Apply | [8 empty] | FALSE |  | FALSE |  |  |  |  | Compliance | 4 | W/m2 |  | FALSE
|  | Insulation 2 | [16 empty] | Applies
|  | Insulation 3 | [11 empty] | Description |  |  |  |  | Not applicable | [8 empty] | FALSE |  | FALSE | [8 empty] | Area
|  | Insulation 4 | [10 empty] | Existing wattage calculated using the largest added wattage | [14 empty] | FALSE |  | FALSE | [8 empty] | FALSE
[14 empty] | Nominate the m2 area | [13 empty] | FALSE |  | FALSE |  |  |  |  | Class 10 building 1
Note 1 | "Penetration size" above includes the fitting dimension plus any required clearance from bulk thermal insulation. For recessed downlights AS/NZS 3000-2007 Amd 2012 Figure 4.7 nominates a 50mm clearance from the fitting to any bulk thermal insulation (Beware: other minimum clearances also apply) | [10 empty] | Wattage |  |  | Added | Existing | [18 empty] | Added lamps | Existing lamps |  |  | Wattage | Added | Exist
[10 empty] | Associated Class 10a building |  |  |  | Nominate light type and number: | [13 empty] | FALSE |  | FALSE |  |  |  |  | 0 | 0 |  |  | FALSE | FALSE
[28 empty] | FALSE |  | FALSE |  |  |  |  | 0 | 0 |  |  | FALSE | FALSE
Note 2 | BCA Table 3.12.1.1b: Insulation R-Values less than R1.0 adjusted for penetrations using a worst-case "as for R1.0" proportional increase. | [33 empty] | 0 | 0 |  |  | FALSE | FALSE
[14 empty] | Total wattage | 0 | Watts per m2 | [18 empty] | 0 | 0 | Watts | countif error | 0
[14 empty] | Area (m2) | 0 |  |  |  |  | Ceiling insulation adjustment for penetration percentage | [18 empty] | Space
|  | Worksheet publisher notices | [36 empty] | FALSE
Original |  | 01 May 2014 | [17 empty] | Table 3.12.1.1b |  |  | 6 | 5.5 | 5 | 4.5 | 4 | 3.5 | 3 | 2.5 | 2 | 1.5 | 1 | 0
Amd No. |  | Date | Description | [10 empty] | Description | [5 empty] | <0.5% | Less than | 0.5% | [16 empty] | Area
1 |  | 28 May 2014 | Artificial lighting, Class 1 building - correct formula error in "Existing" data entry column | [9 empty] | Existing wattage calculated using the largest added wattage | [6 empty] | ≥0.5% and <1.0% | Less than | 1% | Not permitted | 6.9 | 6.2 | 5.4 | 4.7 | 4 | 3.4 | 2.8 | 2.2 | 1.6 | 1 | 0 |  |  |  |  | FALSE
2 |  | 25 June 20105 | Correct formula to allow a 0.00% outcome for percentage of ceiling area uninsulated | [10 empty] | Nominate the m2 area | [5 empty] | ≥1.0% and <1.5% | Less than | 1.5% | Not permitted | Not permitted | 7 | 6.1 | 5.2 | 4.4 | 3.6 | 2.9 | 2.3 | 1.7 | 1.1 | 0.1 | Class 10 building 2
[12 empty] | Wattage |  |  | Added | Existing |  |  |  | ≥1.5% and <2.0% | Less than | 2% | Not permitted | Not permitted | Not permitted | 6.8 | 5.8 | 4.8 | 3.9 | 3.1 | 2.4 | 1.7 | 1.1 | 0.1 | Added lamps | Existing lamps |  |  | Wattage | Added | Exist
Version |  | 25 Jun 2015 | [7 empty] | Associated Class 10a building (second option) |  |  |  | Nominate light type and number: | [5 empty] | ≥2.0%nd <2.5% | Less than | 2.5% | Not permitted | Not permitted | Not permitted | Not permitted | 6.5 | 5.3 | 4.2 | 3.3 | 2.5 | 1.8 | 1.1 | 0.1 | 0 | 0 |  |  | FALSE | FALSE
[20 empty] | ≥2.5% and <3.0% | Less than | 3% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | 5.9 | 4.6 | 3.6 | 2.6 | 1.9 | 1.2 | 0.2 | 0 | 0 |  |  | FALSE | FALSE
Open-exchange-use: This publication has been developed by Building Commons. Building Commission WA is granted open-exchange use and distribution rights. | [19 empty] | ≥3.0%nd <4.0% | Less than | 4% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | 5.7 | 4.2 | 3 | 2 | 1.2 | 0.2 | 0 | 0 |  |  | FALSE | FALSE
[14 empty] | Total wattage | 0 | Watts per m2 |  |  |  | ≥4.0% and <5.0% | Less than | 5% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | 5 | 3.4 | 2.2 | 1.3 | 0.3 | 0 | 0 | Watts | countif error | 0
Disclaimer: The purpose of this publication is to provide building professionals with a guide to the application of the WA Alterations & Additions Protocol for Energy Efficiency (Protocol) to existing Class 1 buildings in Western Australia. This publication is only a guide and may not apply in every instance. Building professionals must familiarise themselves with the Protocol. The publisher gives no undertakings, guarantees, or warranties concerning the accuracy, completeness or fitness for purpose of this publication. To the maximum extent permissible by law, the publisher excludes liability for loss suffered by any person resulting in any way from the use of or reliance upon this publication. | [13 empty] | Area (m2) | 0 |  |  |  |  | 5.0% or more | More than | 5% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted
[35 empty] | Compliance | 3 | W/m2
[10 empty] | Note | BCA 3.12.5.5: Artificial lighting calculations based on the lamp power density method. | [8 empty] | Calculated data interpolations shown on Report
BC_InsRange1
BC_InsValue1
[22 empty] | BC_PenRange1 | 6 | 5.5 | 5 | 4.5 | 4 | 3.5 | 3 | 2.5 | 2 | 1.5 | 1 | 0
[20 empty] | 5.0% or more | More than | 5% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted
[20 empty] | ≥4.0% and <5.0% | Less than | 5% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | 5 | 3.4 | 2.2 | 1.3 | 0.3
[20 empty] | ≥3.0%nd <4.0% | Less than | 4% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | 5.7 | 4.2 | 3 | 2 | 1.2 | 0.2
[20 empty] | ≥2.5% and <3.0% | Less than | 3% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | 5.9 | 4.6 | 3.6 | 2.6 | 1.9 | 1.2 | 0.2
[20 empty] | ≥2.0%nd <2.5% | Less than | 2.5% | Not permitted | Not permitted | Not permitted | Not permitted | 6.5 | 5.3 | 4.2 | 3.3 | 2.5 | 1.8 | 1.1 | 0.1
[20 empty] | ≥1.5% and <2.0% | Less than | 2% | Not permitted | Not permitted | Not permitted | 6.8 | 5.8 | 4.8 | 3.9 | 3.1 | 2.4 | 1.7 | 1.1 | 0.1
[20 empty] | ≥1.0% and <1.5% | Less than | 1.5% | Not permitted | Not permitted | 7 | 6.1 | 5.2 | 4.4 | 3.6 | 2.9 | 2.3 | 1.7 | 1.1 | 0.1
[20 empty] | ≥0.5% and <1.0% | Less than | 1% | Not permitted | 6.9 | 6.2 | 5.4 | 4.7 | 4 | 3.4 | 2.8 | 2.2 | 1.6 | 1 | 0
[20 empty] | <0.5% | Less than | 0.5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BC_InsRange2
BC_InsValue2
[22 empty] | BC_PenRange2 | 6 | 5.5 | 5 | 4.5 | 4 | 3.5 | 3 | 2.5 | 2 | 1.5 | 1 | 0
[20 empty] | 5.0% or more | More than | 5% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted
[20 empty] | ≥4.0% and <5.0% | Less than | 5% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | 5 | 3.4 | 2.2 | 1.3 | 0.3
[20 empty] | ≥3.0%nd <4.0% | Less than | 4% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | 5.7 | 4.2 | 3 | 2 | 1.2 | 0.2
[20 empty] | ≥2.5% and <3.0% | Less than | 3% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | 5.9 | 4.6 | 3.6 | 2.6 | 1.9 | 1.2 | 0.2
[20 empty] | ≥2.0%nd <2.5% | Less than | 2.5% | Not permitted | Not permitted | Not permitted | Not permitted | 6.5 | 5.3 | 4.2 | 3.3 | 2.5 | 1.8 | 1.1 | 0.1
[20 empty] | ≥1.5% and <2.0% | Less than | 2% | Not permitted | Not permitted | Not permitted | 6.8 | 5.8 | 4.8 | 3.9 | 3.1 | 2.4 | 1.7 | 1.1 | 0.1
[20 empty] | ≥1.0% and <1.5% | Less than | 1.5% | Not permitted | Not permitted | 7 | 6.1 | 5.2 | 4.4 | 3.6 | 2.9 | 2.3 | 1.7 | 1.1 | 0.1
[20 empty] | ≥0.5% and <1.0% | Less than | 1% | Not permitted | 6.9 | 6.2 | 5.4 | 4.7 | 4 | 3.4 | 2.8 | 2.2 | 1.6 | 1 | 0
[20 empty] | <0.5% | Less than | 0.5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BC_InsRange3
BC_InsValue3
[22 empty] | BC_PenRange3 | 6 | 5.5 | 5 | 4.5 | 4 | 3.5 | 3 | 2.5 | 2 | 1.5 | 1 | 0
[20 empty] | 5.0% or more | More than | 5% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted
[20 empty] | ≥4.0% and <5.0% | Less than | 5% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | 5 | 3.4 | 2.2 | 1.3 | 0.3
[20 empty] | ≥3.0%nd <4.0% | Less than | 4% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | 5.7 | 4.2 | 3 | 2 | 1.2 | 0.2
[20 empty] | ≥2.5% and <3.0% | Less than | 3% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | 5.9 | 4.6 | 3.6 | 2.6 | 1.9 | 1.2 | 0.2
[20 empty] | ≥2.0%nd <2.5% | Less than | 2.5% | Not permitted | Not permitted | Not permitted | Not permitted | 6.5 | 5.3 | 4.2 | 3.3 | 2.5 | 1.8 | 1.1 | 0.1
[20 empty] | ≥1.5% and <2.0% | Less than | 2% | Not permitted | Not permitted | Not permitted | 6.8 | 5.8 | 4.8 | 3.9 | 3.1 | 2.4 | 1.7 | 1.1 | 0.1
[20 empty] | ≥1.0% and <1.5% | Less than | 1.5% | Not permitted | Not permitted | 7 | 6.1 | 5.2 | 4.4 | 3.6 | 2.9 | 2.3 | 1.7 | 1.1 | 0.1
[20 empty] | ≥0.5% and <1.0% | Less than | 1% | Not permitted | 6.9 | 6.2 | 5.4 | 4.7 | 4 | 3.4 | 2.8 | 2.2 | 1.6 | 1 | 0
[20 empty] | <0.5% | Less than | 0.5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BC_InsRange4
BC_InsValue4
[22 empty] | BC_PenRange4 | 6 | 5.5 | 5 | 4.5 | 4 | 3.5 | 3 | 2.5 | 2 | 1.5 | 1 | 0
[20 empty] | 5.0% or more | More than | 5% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted
[20 empty] | ≥4.0% and <5.0% | Less than | 5% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | 5 | 3.4 | 2.2 | 1.3 | 0.3
[20 empty] | ≥3.0%nd <4.0% | Less than | 4% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | 5.7 | 4.2 | 3 | 2 | 1.2 | 0.2
[20 empty] | ≥2.5% and <3.0% | Less than | 3% | Not permitted | Not permitted | Not permitted | Not permitted | Not permitted | 5.9 | 4.6 | 3.6 | 2.6 | 1.9 | 1.2 | 0.2
[20 empty] | ≥2.0%nd <2.5% | Less than | 2.5% | Not permitted | Not permitted | Not permitted | Not permitted | 6.5 | 5.3 | 4.2 | 3.3 | 2.5 | 1.8 | 1.1 | 0.1
[20 empty] | ≥1.5% and <2.0% | Less than | 2% | Not permitted | Not permitted | Not permitted | 6.8 | 5.8 | 4.8 | 3.9 | 3.1 | 2.4 | 1.7 | 1.1 | 0.1
[20 empty] | ≥1.0% and <1.5% | Less than | 1.5% | Not permitted | Not permitted | 7 | 6.1 | 5.2 | 4.4 | 3.6 | 2.9 | 2.3 | 1.7 | 1.1 | 0.1
[20 empty] | ≥0.5% and <1.0% | Less than | 1% | Not permitted | 6.9 | 6.2 | 5.4 | 4.7 | 4 | 3.4 | 2.8 | 2.2 | 1.6 | 1 | 0
[20 empty] | <0.5% | Less than | 0.5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on AE12: James Bertram: The area of a space is measured on the horizontal plain, over any walls internal to the space, up to the inside face of the walls that contain the space. For a whole-of-building area, use the total area contained within the external walls of the Class 1 building.
Note on N13: James Bertram: The area of a space is measured on the horizontal plain, over any walls internal to the space, up to the inside face of the walls that contain the space. For a whole-of-building area, use the total area contained within the external walls of the Class 1 building.
Note on AO17: James Bertram: Area circle = pi * R2, hence m2 area formula is Diam / 2000 (2=half diam-radius, 1000=metres